Using Dark cycles recipes on the Nextseq

**Unzip the folder and place the custom recipe folder into this folder :**

**C:\Illumina\NextSeq Control Software\Recipe\Custom\High\**

**When setting up the run, just pick this recipe on the run setup screen.**

Note:

* this only works for high output – a mid output recipe has not been successful yet.
* This only works for standalone mode (although you can still use run monitoring).